## Slide 1: Smart Patient Health Monitoring System
Presented by:
Sanskar Patil (B-840)
Samarth Sawant (B-836)
Rishikesh Patil (B-837)

## Slide 2: Introduction to Smart ICU System
IoT-based Patient Monitoring System: The Smart ICU system leverages Internet of Things (IoT) technology to monitor patients continuously, enhancing the quality of care and ensuring timely interventions.
Real-Time Health Tracking: This system provides real-time tracking of patient vitals, allowing healthcare professionals to respond quickly to any changes in a patient's condition.
Automation of ICU Monitoring: By automating the monitoring process, the Smart ICU system significantly reduces the dependency on manual observation, enabling staff to focus on direct patient care.
Vital Data Collection through Sensors: Advanced sensors collect and transmit vital signs such as heart rate, blood pressure, and oxygen levels, ensuring that healthcare teams have access to the most current data.
Remote Monitoring Capability: The system facilitates remote monitoring, allowing healthcare providers to oversee multiple patients from a centralized location, improving efficiency and response times.
Instant Alerts for Abnormal Values: In case of abnormal values detected by the sensors, the system instantly alerts medical staff, ensuring immediate attention and care for patients in critical conditions.

## Slide 3: Problem Statement
Manual Monitoring in ICUs : Traditional Intensive Care Units (ICUs) heavily depend on manual monitoring, which can be time-consuming and prone to human error. This reliance on manual processes can lead to significant delays in response times, jeopardizing patient safety.
Delayed Detection Risks : The delay in detecting critical conditions due to manual monitoring can result in severe health implications for patients. Rapid deterioration of a patient’s condition may go unnoticed, leading to complications or even fatalities.
Overburdened Healthcare Staff : Healthcare professionals in ICUs often face overwhelming workloads, tasked with monitoring multiple patients simultaneously. This can lead to burnout and decreased vigilance, further increasing the risk of missed alerts for deteriorating patients.
Lack of Remote Monitoring : Without the capability for remote access to patient vitals, timely interventions become difficult. Healthcare providers are hindered in their ability to respond quickly to changes in patient conditions, which is crucial in critical care settings.

## Slide 4: Objectives
Real-time Monitoring : Implement continuous tracking of vital parameters such as Heart Rate (HR), Blood Oxygen Saturation (SpO2), and Temperature to ensure immediate response capabilities.
Automated Alerts : Establish a notification system that automatically informs medical staff when vital parameters exceed predefined thresholds, ensuring rapid intervention.
Remote Access : Enable cloud-based access for doctors, allowing healthcare professionals to monitor patients from anywhere, facilitating timely decisions and interventions.
Predictive Analytics : Leverage AI-driven analysis to identify potential health risks early, enhancing proactive healthcare management and improving patient outcomes.
Secure Data Management : Implement robust data management practices to ensure compliance with healthcare regulations, safeguarding patient information and ensuring privacy.

## Slide 5: System Architecture
Communication Mechanism : The system utilizes an Arduino Mega 2560 as the central controller, which interfaces with various sensors to monitor critical health metrics. The sensors include Heart Rate, SpO2 (blood oxygen saturation), Temperature, and ECG (electrocardiogram) sensors. Additionally, an LCD is integrated for local display of vitals, and an Alarm System is in place to alert users of any anomalies.
Frontend Dashboard : The backend of the system employs cloud storage solutions such as Firebase, AWS, or MongoDB. These platforms provide scalable data storage and processing capabilities, allowing for efficient handling of large volumes of health data and ensuring data availability and security.
Hardware Components: Data collected from the sensors is transmitted to a backend server using either a Wi-Fi or GSM module. This dual communication capability ensures that data can be sent in real-time, enhancing the system's responsiveness and reliability.
Backend Infrastructure: A web-based dashboard is designed to present real-time vitals and alerts to users. This intuitive interface allows healthcare providers and users to monitor health metrics conveniently, facilitating timely interventions when necessary.

## Slide 6: Flowchart of System Process
Data collection from sensors
Data processing by Arduino mega 2560
Wireless Data Transmission via WiFi
Cloud Database Storage
Backend data processing and analysis
Frontend Data Display
Alert mechanism via SMS and Email

## Slide 7: Components & Technologies
Hardware Components : The project utilizes various hardware components essential for capturing vital health metrics. The Arduino Mega 2560 serves as the central processing unit, interfacing with ECG, SpO2, temperature, and gas sensors. An alarm system is integrated to enhance safety and alert users in case of any anomalies.
Software Programming Languages : The software development for this project employs C/C++ and Python programming languages. C/C++ is utilized for low-level hardware interactions, while Python is used for data analysis and higher-level application logic, enabling robust functionality.
Database Solutions : Data storage and management are facilitated through Firebase and MongoDB. Firebase provides real-time data synchronization and easy integration with mobile applications, while MongoDB offers flexible data structures for complex queries and scalability.
Frontend Development Tools : The user interface is developed using ReactJS, which allows for the creation of dynamic and responsive web applications. Additionally, the Google Maps API is incorporated to provide geographic context for the data being analyzed, enhancing user experience.
Communication Protocols : The system employs Wi-Fi and HTTP requests for communication between the device and cloud services. This enables seamless data transmission and remote access to health metrics, ensuring users can monitor their health effectively from anywhere.

## Slide 8: Dashboard & Features
Real-time ECG Monitoring : The dashboard provides continuous ECG monitoring, allowing healthcare professionals to track the patient's heart rhythm in real-time, which aids in early detection of potential cardiac issues.
Heart Rate Tracking : Heart rate is displayed prominently on the dashboard, enabling immediate assessment of the patient's cardiovascular health and quick response to any abnormalities.
Temperature Monitoring : The dashboard includes real-time temperature readings, ensuring that any signs of fever or hypothermia are promptly identified and addressed.
SpO2 Levels Display : Saturation of peripheral oxygen (SpO2) levels are displayed, providing critical information about the patient's respiratory health and oxygenation status.
Alerts for Abnormal Conditions : Automated alerts are triggered for any abnormal readings, ensuring that medical staff can act quickly in emergencies to improve patient outcomes.
Patient GPS Location Tracking : The dashboard integrates GPS location tracking, allowing healthcare professionals to monitor the patient's location in real-time via Google Maps, enhancing safety and security.
Access to Medical History Records : Comprehensive medical history records are accessible through the dashboard, enabling healthcare providers to make informed decisions based on the patient's past health data.

## Slide 9: Testing & Validation
Sensor Data Accuracy : The accuracy of sensor data is crucial in healthcare monitoring systems. This accuracy has been verified through the use of simulated test cases, ensuring that the sensors provide reliable and precise data for patient vitals.
GPS Tracking : The system implements GPS tracking capabilities that provide real-time updates every 5 seconds. This feature allows healthcare providers to monitor the location of patients and respond promptly to emergencies.
Alert System : An alert system is in place to notify healthcare professionals instantly when abnormal vital signs are detected. This rapid notification process is critical for timely intervention and patient safety.
User Interface : The user interface of the monitoring system is designed to be responsive and user-friendly. This seamless monitoring experience enhances the efficiency of healthcare providers in managing patient data.

## Slide 10: Challenges & Solutions
Challenge: API Integration with Google Maps : Integrating the application with Google Maps API posed significant challenges in terms of functionality and performance. Ensuring seamless communication between our application and Google Maps was crucial for user experience.
Solution: React-Google-Maps API : To address the integration challenges, we utilized the React-Google-Maps API, which allowed for dynamic updates and enhanced interaction with map features. This solution significantly improved the responsiveness of map-related functionalities.
Challenge: Simulating Real-time Sensor Data : Simulating real-time sensor data for testing purposes was another critical challenge. Accurate data representation was necessary to evaluate the system's performance under different scenarios.
Solution: JavaScript Randomization for Test Cases : To effectively simulate real-time sensor data, we implemented JavaScript randomization techniques. This approach allowed us to create varied test cases, ensuring robust testing of the application’s functionality.
Challenge: Ensuring Real-time NotificationsReal-time notifications were essential for user engagement and timely updates. However, maintaining the reliability of these notifications under fluctuating conditions proved to be challenging.
Solution: Backend Alert Triggers via Threshold Limits : To ensure timely notifications, we established backend alert triggers that activated based on predefined threshold limits. This solution allowed for immediate alerting when critical conditions were met, enhancing user response times.

## Slide 11: Future Enhancements
Integration of Real Sensors instead of simulations : By utilizing actual sensors, we can achieve more accurate data collection and analysis, enhancing the reliability of patient monitoring systems. This shift from simulations allows for real-time data capture, leading to improved health outcomes.
AI-driven Predictive Analytics for early health risk detection : Implementing AI algorithms will enable healthcare providers to identify potential health risks before they escalate. This proactive approach can significantly reduce emergency cases and improve patient management through timely interventions.
Mobile App Development for monitoring on smartphones : Developing mobile applications will empower patients to monitor their health metrics conveniently from their smartphones. This accessibility fosters greater patient engagement and allows for personalized health management.
Cloud-Based Data Storage for seamless hospital integration : Adopting cloud technology for data storage ensures that patient information is securely accessible across different healthcare facilities. This integration facilitates improved collaboration among healthcare providers and enhances overall patient care.
IoT Wearable Connectivity to enhance patient mobility : Integrating IoT wearable devices into patient care can significantly improve mobility and monitoring capabilities. These devices can track vital signs and activity levels, allowing for continuous health tracking and immediate response to any abnormalities.

## Slide 12: Conclusion
Smart ICU system enhances patient monitoring using IoT : The integration of Internet of Things (IoT) technology in Smart ICU systems revolutionizes the way patient monitoring is conducted. By utilizing connected devices, healthcare professionals can continuously track vital signs and health metrics, ensuring timely interventions.
Provides real-time vitals, alerts, and remote access for medical staff : The system offers real-time data on patients' vital signs, enabling medical staff to receive immediate alerts for any anomalies. This capability allows healthcare providers to respond swiftly, even from remote locations, enhancing patient care and safety.
Reduces workload on healthcare professionals : By automating routine monitoring tasks, the Smart ICU system significantly decreases the administrative burden on healthcare professionals. This reduction in workload allows staff to focus on direct patient care and critical decision-making.
Future developments will improve scalability and AI integration : Looking ahead, advancements in technology are expected to enhance the scalability of Smart ICU systems and further integrate artificial intelligence. These improvements will optimize resource allocation and patient outcomes, paving the way for more efficient healthcare delivery.

## Slide 13: Hardware Setup
Initialized Arduino Mega 2560
Initialized Wifi module to be able to send sensor data to backend api
Initialized heart rate sensor and successfully obtained ecg in real-time
Initialized LCD12 module and presented the ecg data in real time on the lcd screen

## Slide 14: Hardware Setup Challenges
LCD sensitivity was too high which caused greater brightness on the lcd screen. That made us unable to visualize data presented on lcd screen
Too much noise was found in the data extracted from ecg sensor.
In order to keep noise at minimal we implemented a resistor between the analog input of Arduino and the ecg sensor output. While this was a temporary solution as we added other components the noise eliminated.
ECG sensor was not stable which caused inconsistency in data appeared. Fixing ecg sensor usaing soildering and then mounting it on a breadboard.

## Slide 15: Software setup challenges